## Cover page
DMS-FT-562
Digital Engineering Project Data Schema
CAD Schema and Specification
Version 2.1
Issued date: December 2022
Important Warning
This document is one set of standards developed solely and specifically for use on Transport Assets (as defined in the Asset Standards Authority Charter). It is not suitable for any other purpose. The copyright and any other intellectual property in this document will at all times remain the property of the State of New South Wales (Transport for NSW). You may not use or adapt this document or rely upon it in any way unless you are providing products or services to a NSW Government agency and that agency has expressly authorised you in writing to do so. If this document forms part of a contract with, or is a condition of approval by a NSW Government agency, use of the document is subject to the term of the contract or approval. To be clear, the content of this document is not licensed under any Creative Commons Licence. This document may contain third party material. The inclusion of third party material is for illustrative purposes only and does not represent an endorsement by NSW Government of any third party product or service. If you use this document or rely upon it without authorisation under these terms, the State of New South Wales (including Transport for NSW) and its personnel does not accept any liability to you or any other person for any loss, damage, costs and expenses that you or anyone else may suffer or incur from your use and reliance on the content contained in this document. Users should exercise their own skill and care in the use of the document. This document may not be current and is uncontrolled when printed or downloaded. Standards may be accessed from the Digital Engineering Framework website at:
www.transport.nsw.gov.au/digitalengineering

## Preface
DMS-FT-562
CAD Schema and Specification
Version 2.1
Issued date: December 2022
Preface
Transport for New South Wales (TfNSW) is developing and implementing the Digital Engineering (DE) Framework to support projects as they adopt new digital ways of working. The way assets are planned, designed, constructed, operated and maintained are becoming faster and more accurate as a result of emerging technologies. The DE Framework connects these technologies across various project disciplines together with reliable, structured data. Consistent DE processes provide TfNSW with an approach that enables digital information to become a key enabler of better project outcomes. This includes, but is not limited to; stakeholder engagement, informed decision making, improved asset knowledge, capability and capacity planning. Applying this unified vision will accelerate the value of DE, and simplify these new ways of working for both our project teams and industry, providing valuable insights, creating efficiencies and delivering cost savings throughout the project lifecycle. This document should be read in conjunction with all related DE Framework documentation. Any application of the DE Framework or any of its parts must be considered in a project-specific context. Adoption of the DE Framework should be undertaken in consultation with the DE Team to ensure best appropriate practice.

## Standard governance
DMS-FT-562
CAD Schema and Specification
Version 2.1
Issued date: December 2022
Standard governance
Owner: | Workstream Specialists
Authoriser: | Senior Manager Digital Engineering Governance
Approver: | Director Digital Twin Integration
Document history
Version | Summary of Changes
1.0 | First issue, DE Framework Release 3.0
2.0 | DE Standard Release 4.0. Multimodal update.
2.1 | Updated for DE Standard Release 4.1 - Added Network Complex Code - Updated Cad Configuration Spec
For queries regarding this document,
please email the Digital Engineering team at
Digital.engineering@transport.nsw.gov.au
or visit www.transport.nsw.gov.au/digitalengineering

## CAD Configuration Spec
Field No | Title Block Field Location | Standard document: T MU MD 00006 TI Metadata Spreadsheet Requirements | Field Name | Business Definition | Stage of First Field Application | Mandatory data | Data Business Rules | Attribute Group | Attribute | Value List Source | CAD PDS Field Sequence # | Value List | Auto or Manual | Standards
1 | Cover Sheet |  | Program name | The Program Name | Service Outcome Baseline | Yes | Required on the cover sheet for document deliverables | Cover | TfNSW_ProgramName | CAD PDS | 1 | Program Name | Manual
2 | Cover Sheet |  | Work package code (Construction) | A unique code generated for a Construction Work Package created for the project at the Construction stage. The Construction Work Package Codes are generated within the PDBB. | Service Outcome Baseline | Yes | Required for design work package document deliverables on the cover sheet. | Cover | TfNSW_WPConstructionCode | CAD PDS | 5 | Construction Work Package Code | Manual
3 | Cover Sheet |  | Work package name (Construction) | The Work Package Name (Construction) field is to be populated for Work Packages relating to Construction packages of work. | Service Outcome Baseline | Yes | Required for design work package document deliverables on the cover sheet. | Cover | TfNSW_WPConstructionName | CAD PDS | 6 | Construction Work Package Name | Manual
4 | Cover Sheet |  | Work package code (Design) | A unique code generated for a Design Work Package created for the project at the Design stage. The Design Work Package Codes are generated within the PDBB. | Detailed Design | Optional | If required for construction work package document deliverables. Applies to the cover sheet of work package. |  | TfNSW_WPDesignCode | CAD PDS | 3 | Work Package Code (Design) | Manual
5 | Cover Sheet |  | Work package name (Design) | The Work Package Name (Design) field is to be populated for Work Packages relating to Design packages of work. | Detailed Design | Optional | If required for construction work package document deliverables. Applies to the cover sheet of work package. |  | TfNSW_WPDesignName | CAD PDS | 4 | Work Package Name (Design) | Manual
6 | Drawing details box | X | Asset location description | The Asset Location Description is a description governed by SER for the Asset Location. This description directly related to the Location Part Code for the Asset Location. If a description does not exist it is because the Asset Location has not yet been determined by SER. In contacting SER to determine whether a new centrally governed Location Code Part is required for the Asset Location, SER will also determine if a new centrally governed Asset Location Description in association with the Location Code Part is needed. Should SER deem there is no requirement to develop a centrally governed Asset Location Description then the project can create an appropriate Asset Location Description to suit the project needs. An Asset Location Description determined by SER will be unique. If the project team develop their own program/project based Asset Location Description then this description should be unique to the program/project. A description used for the Asset Location Description for an Asset Location at level 1 (Asset Location Description (L1)) will be governed by SER. | Service Outcome Baseline | Yes | Project Location | Titleblock | tbLocality | CAD PDS | 7 | Asset Location Description | Manual
7 | Drawing details box | X | Corridor and kilometrage | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Conditional | If in rail corridor | Titleblock | tbLine | Provided by Contractor |  |  | Manual
8 | Drawing details box | X | Job description detail 1 | Project description. Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes | Project Description | Titleblock | tbDetail1 | CAD PDS | 8 | Project Name | Manual
9 | Drawing details box | X | Job description detail 2 | Design work package name. Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes | Design Work Package Name | Titleblock | tbDetail2 | CAD PDS | 9 | Work Package Name (Design) | Manual
10 | Drawing details box | X | Drawing type | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDetail3 | CAD PDS | 10 | Drawing Type Description | Manual
11 | Drawing details box |  | Drawing details/Chainage range | Optional field used to provide extra drawings details or chainage range | Service Outcome Baseline | Optional |  | Titleblock | tbDetail4 | Provided by Contractor |  |  | Manual
12 | Drawing details box |  | Drawing set number | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Optional |  | Titleblock | tbDrawingSetNo | Provided by TfNSW |  |  | Manual
13 | Drawing details box |  | Part number | The drawing Part number used to subdivide the drawing packages to support delivery phase, leave blank if not required | Service Outcome Baseline | Optional |  | Titleblock | tbPartNo | Provided by Contractor |  |  | Manual
14 | Drawing details box | X | Sheet number | Refer T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbSheetNo | Provided by Contractor |  |  | Manual
15 | Drawing details box | X | Total number of sheets | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbOfSheets | Provided by Contractor |  |  | Manual
16 | Drawing details box | X | Sheet size | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbSheetSize | CAD PDS | 15 | Sheet Size | Manual
17 | Drawing details box | X | Document purpose | Indicate the status of the drawing related to the project milestone stage | Service Outcome Baseline | Yes | Project Milestone Description | Titleblock | tbStatus | CAD PDS | 12 | Project Milestone Description | Manual
18 | Drawing details box |  | Bridge number | Provided by TfNSW. The Bridge number used by road bridge as a reference required for O&M phase, leave blank if not required. To obtain a new Bridge number please check with the TfNSW Project Team. | Service Outcome Baseline | Conditional | If road bridge asset | Titleblock | tbBridgeNo | Provided by TfNSW |  |  | Manual
19 | Drawing details box | X | Design company document number | The document number include the Project Contract code, Organisation code, Location or Sub-Location code, Discipline or Sub-Discipline code, Document type and Drawing Serial number. | Service Outcome Baseline | Yes |  | AEO | tbAEODrgNo | Provided by Contractor |  |  | Manual
20 | Drawing details box |  | Project contract code | The Project Contract Code is a key that identifies a logical contract on a project. Project Contract Codes are defined as part of the commercial strategy process when the Client determines how a project will be delivered. Therefore, Project Contract Codes are defined before any commercial contracts are established between the Client and the Contractors. As such, this field does not contain the actual commercial contract code values but rather an alias to the commercial contract. | Service Outcome Baseline | Yes | Required as part of Document Number | Titleblock | TfNSW_ProjectContractCode | CAD PDS | 16 | Project Contract Code
21 | Drawing details box |  | Contracted organisation code | AEO or Engineering Company Code for the organisation responsible for the documents. The unique company code is provided by TfNSW document control. | Service Outcome Baseline | Yes | Required as part of Document Number | Titleblock | TfNSW_ContractOrgCode | CAD PDS | 17 | Contracted Organisation Code
22 | Drawing details box | X | Asset location code (L1) | A sub-set of all Asset Location Codes. This sub-set if limited to all Level 1 locations as defined by the project. Note, the location level is not the level of a location in the Asset Location hierarchy, but rather the "level" as defined by the project for the purposes of limiting the location attributes using in the ECM. | Service Outcome Baseline | Yes | Required as part of Document Number | Titleblock | TfNSW_AssetLocationCodeL1 | CAD PDS | 18 | Asset Location Code (L1)
23 | Drawing details box |  | Asset location code (L2) | A sub-set of all Asset Location Codes. This sub-set if limited to all Level 2 locations as defined by the project. Note, the location level is not the level of a location in the Asset Location hierarchy, but rather the "level" as defined by the project for the purposes of limiting the location attributes using in the ECM. | Service Outcome Baseline | Conditional | Required if document number is to show the sub-location. | Titleblock | TfNSW_AssetLocationCodeL2 | CAD PDS | 19 | Asset Location Code (L2)
24 | Drawing details box |  | Asset location code (L3) | A sub-set of all Asset Location Codes. This sub-set if limited to all Level 3 locations as defined by the project. Note, the location level is not the level of a location in the Asset Location hierarchy, but rather the "level" as defined by the project for the purposes of limiting the location attributes using in the ECM. | Service Outcome Baseline | Optional | Required if document number is to show the sub-sub-location. | Titleblock | TfNSW_AssetLocationCodeL3 | CAD PDS | 20 | Asset Location Code (L3)
25 | Drawing details box | X | Discipline code | Technical or Business Disciplines Code that is controlled by the MDBB. | Service Outcome Baseline | Yes | Required as part of Document Number | Titleblock | TfNSW_DisciplineCode | CAD PDS | 21 | Discipline Code
26 | Drawing details box | X | Sub-discipline code | Related Technical or Business Sub-disciplines Code that is controlled by the MDBB. | Service Outcome Baseline | Conditional | Required in document number if sub-discipline applies | Titleblock | TfNSW_SubDisciplineCode | CAD PDS | 22 | Sub-discipline Code
27 | Drawing details box |  | Document type code | A unique code for identifying a specific type of document. | Service Outcome Baseline | Yes | Required as part of Document Number | Titleblock | TfNSW_DocumentTypeCode | CAD PDS | 23 | Document Type Code
28 | Drawing details box |  | Serial number | Six digit serial number which, when concatenated with the rest of the document number, results in a unique document number. | Service Outcome Baseline | Yes | Required as part of Document Number | Titleblock | TfNSW_SerialNo | Provided by Contractor
29 | Drawing details box |  | Design company revision level | Indicate the design company revision level related to the design company document number. | Service Outcome Baseline | Yes |  | AEO | tbAEORevNo | Provided by Contractor |  |  | Manual
30 | Drawing details box |  | Design company version number | Indicate the design company version level. | Service Outcome Baseline | Yes |  | AEO | tbAEOVerNo | Provided by Contractor |  |  | Manual
31 | Drawing details box | X | ASA VPR discipline code | An SER allocated discipline code used in the Virtual Plan Room repository. | Concept Design | Conditional | If SER requires VPR submission, part of EDMS number |  | tbVPRDisciplineCode | CAD PDS | 28 | ASA VPR Discipline Code | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
32 | Drawing details box | X | EDMS ID | An SER allocated document identifier that is mapped to a project document. | Concept Design | Conditional | If SER requires VPR submission, part of EDMS number |  | tbEDMSID | Provided by ASA |  |  | Manual
33 | Drawing details box | X | EDMS amendment level | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Concept Design | Conditional | If SER requires VPR submission |  | tbAMDNo | A, B, C |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
34 | Drawing details box | X | Network Complex Code | a 3 digit code to reflect the network complex that is defined by SER. | Service Outcome Baseline | Yes |  | Titleblock | TfNSW_NetworkComplexCode | CAD PDS | 45 | Network Complex Code | Manual
35 | Sign-off box | X | AEO engineering company name | The AEO engineering company name | Service Outcome Baseline | Conditional | If AEO/TAO required | AEO | tbAEOSuppName | CAD PDS | 31 | Contracted Organisation Name | Manual
36 | Sign-off box | X | Design company name | The Design Company name is confirmed with TfNSW document control and is associated to the Design Company Code. | Service Outcome Baseline | Yes |  | AEO | tbDesignCompName | CAD PDS | 31 | Contracted Organisation Name | Manual
37 | Sign-off box |  | Discipline description | The Discipline or Subdiscipline description | Service Outcome Baseline | Yes |  | Titleblock | tbDiscipline | CAD PDS | 32 | Discipline Description | Manual
38 | Sign-off box |  | Organisation Unit name | The Organisation unit name within TfNSW whom the drawing has been prepared for | Service Outcome Baseline | Conditional |  | Titleblock | tbOrgUnitName | Provided by Contractor |  |  | Manual
39 | Sign-off box |  | Agency name | The Section name within TfNSW whom the drawing has been prepared for | Service Outcome Baseline | Conditional |  | Titleblock | tbAgencyName | Provided by Contractor |  |  | Manual
40 | Sign-off box |  | Department name | The Department name within TfNSW whom the drawing has been prepared for | Service Outcome Baseline | Conditional |  | Titleblock | tbDepartmentName | Provided by Contractor |  |  | Manual
41 | Sign-off box |  | Drawn by (Name) | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDrwnName | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
42 | Sign-off box |  | Drawn date | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDrwnDate | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
43 | Sign-off box |  | Designed by (Name) | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDsnName | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
44 | Sign-off box |  | Designed date | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDsnDate | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
45 | Sign-off box |  | Drawing checked by (Name) | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDrgChkName | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
46 | Sign-off box |  | Drawing checked date | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDrgChkDate | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
47 | Sign-off box |  | Design checked by (Name) | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDsnChkName | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
48 | Sign-off box |  | Design checked date | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbDsnChkDate | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
49 | Sign-off box |  | Project/Design Manager (Name) | The full name of the contractor’s Project or Design Manager | Service Outcome Baseline | Yes |  | Titleblock | tbProjDsnMngrName | Provided by Contractor |  |  | Manual
50 | Sign-off box |  | Project/Design Manager date | Date of sign-off by the contractor’s Project or Design Manager | Service Outcome Baseline | Yes |  | Titleblock | tbProjDsnMngrDate | Provided by Contractor |  |  | Manual
51 | Sign-off box |  | Approved by (Name) | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbApprName | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
52 | Sign-off box |  | Approved date | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbApprDate | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
53 | Amendment box |  | Scale | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | Titleblock | tbScale | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
54 | Amendment box |  | Design lot code | Option field used by the contractor to support delivery phase, leave blank if not required | Service Outcome Baseline | Optional |  | Titleblock | tbDesignLotCode | Provided by Contractor |  |  | Manual
55 | Amendment box |  | Co-ordinate system | Identify the survey coordinate system being used for the project, including first Geocentric Datum of Australia (GDA) information and Map Grid of Australia (MGA). | Service Outcome Baseline | Yes |  | TBNPW | tbCoordSys | CAD PDS | 51 | Co-ordinate system | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
56 | Amendment box |  | Height datum | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | No |  | TBNPW | tbHghtDatum | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
57 | Amendment box |  | Amendment level | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | AEO | tbAEORevNo | Provided by Contractor |  |  | Manual
58 | Amendment box |  | Amendment description | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | AMD | tbAMDDesc | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
59 | Amendment box |  | Amendment designer initial and date | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | AMD | tbAMDDsgnSD | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
60 | Amendment box |  | Amendment verifier initial and date | Refer to T MU MD 00006 ST Engineering Drawings and CAD Requirement for further details | Service Outcome Baseline | Yes |  | AMD | tbAMDVerSD | Provided by Contractor |  |  | Manual | Standard document: T MU MD 00006 ST Engineering Drawings and CAD Requirement
61 | Amendment box |  | Amendment approver initial | The initials of the person who approved the amendment. | Service Outcome Baseline | Yes |  | AMD | tbAMDApprSign | Provided by Contractor |  |  | Manual
62 | Amendment box | X | Amendment approver date | The amendment date the drawing is approved and signed | Service Outcome Baseline | Yes |  | AMD | tbAMDApprDate | Provided by Contractor |  |  | Manual
63 | Drawing frame |  | Security classification description | As per 'NSW Government Information Classification, Labelling and Handling Guidelines'. Refer to FT-549 DE title block for position. | Service Outcome Baseline | Yes |  | Titleblock | TfNSW_SecurityClassificationDesc | CAD PDS | 54 | Security Classification Description | Manual
64 | Drawing frame |  | Model reference | Reference to model document number(s) and revision(s), for cases where it is important to display which model(s) or revisions(s) are showing on the drawing. Refer to FT-549 DE title block for position. | Service Outcome Baseline | Conditional | Recommended for critical models showing in the drawing | Titleblock | tbModelReference | Provided by Contractor |  |  | Manual
65 | Drawing frame |  | Suitability description | The Suitability Description is the description of the State and Suitability Code assigned to a document when sharing. The Suitability Description value is governed by TfNSW | Service Outcome Baseline | Yes |  | Titleblock | TfNSW_SuitabilityDesc | CAD PDS | 56 | Suitability Description | Manual

## CAD PDS
ECM PDS |  | DE Standard Release | 4.1 | PDBB Version |  | Date Updated
| COVER SHEET | [6 empty] | DRAWING DETAILS BOX | [24 empty] | SIGN-OFF BOX | [15 empty] | AMENDMENT BOX | [6 empty] | DRAWING FRAME
Document No
| Project Details |  |  | Design Work Package |  | Construction Work Package |  | Location Description | Job description detail 1 | Job description detail 2 | Drawing Type | File number | Document Purpose | Sheet number | Total number of sheets | Sheet size |  | Project Contract Code | AEO company code | Location/Sub-Location Code |  | Sub-sub-Location Code | Discipline/Sub-Discipline |  | Document Type | Serial Number | Design company revision | Design company version | EDMS Number | ASA VPR Discipline | ASA EDMS ID | ASA Amendment No | AEO/Design company name | Discipline Description | Sign-off Information | [8 empty] | Department information |  |  | Network Complex |  | Amendment Information | [6 empty] | Drawing Information
| 1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57
TfNSW Field Name | Program Name | Project Name |  | Work Package Code (Design) | Work Package Name (Design) | Work Package Code (Construction) | Work Package Name (Construction) | Asset Location Description | Project Name | Work Package Name (Design) | Drawing Type Description |  | Project Milestone Description |  |  | Sheet Size |  | Project Contract Code | Contracted Organisation Code | Asset Location Code (L1) | Asset Location Code (L2) | Asset Location Code (L3) | Discipline Code | Sub-Discipline Code | Document Type Code |  |  |  |  | ASA VPR Discipline Code |  |  | AEO/Design company name 31: Contracted Organisation Name; Discipline Description 32: Discipline Description |  |  |  |  | Co-ordinate system |  |  | Security Classification Description |  | Suitability Description | State Description
TfNSW Attribute Name | TfNSW_ProgramName | TfNSW_ProjectName |  | TfNSW_WPDesignCode | TfNSW_WPDesignName | TfNSW_WPConstructionCode | TfNSW_WPConstructionName | tbLocality | tbDetail1 | tbDetail2 | tbDetail3 |  | tbStatus |  |  | tbSheetSize |  | TfNSW_ProjectContractCode | TfNSW_ContractOrgCode | TfNSW_AssetLocationCodeL1 | TfNSW_AssetLocationCodeL3 | TfNSW_AssetLocationCodeL3 | TfNSW_DisciplineCode | TfNSW_SubDisciplineCode | TfNSW_DocumentTypeCode |  |  |  |  | tbDiscipline |  |  | AEO/Design company name 31: TfNSW_ContractOrgName; Discipline Description 32: tbDiscipline | [7 empty] | TfNSW_SecurityClassificationDesc |  | TfNSW_SuitabilityDesc | TfNSW_StateDesc
Legacy (alternative) | [52 empty] | tbCoordSys
| Program Name | Project Name |  | Work Package Code (Design) | Work Package Name (Design) | Work Package Code (Construction) | Work Package Name (Construction) | Asset Location Description | Project Name | Work Package Name (Design) | Drawing Type Description | File No | Project Milestone Description | Sheet number | Total number of sheets | Sheet size | Concatenation | Project Contract Code | AEO Engineering Company Code | Location Code | Sub-Location Code | Sub-sub-Location Code | Discipline Code | Sub-Discipline Code | Document Type Code | Six digits | Contractor Revision Number | Contractor Version Number | Concatenation | VPR Discipline | EDMS ID | EDMS Amendment Level | Contracted Organisation Name | Discipline Description | Drawn by | Drawn date | Designed by | Designed date | Drawing checked by | Design checked by | Design checked date | Project manager checked by | Project manager checked date | Organisational unit Name | Agency Name | Department Name | Network Complex Code | Network Complex Description | Amendment approver date | Amendment description | Amendment designer initial and date | Amendment verifier initial and date | Co-ordinate system | Height datum | Scale | Security Classification Description | Model Reference | Suitability Description | State Description
[11 empty] | Abutment A |  | Accepted For Construction (AFC) |  | 1 | A0 | [Project Contract Code]- | [5 empty] | AR | AA | AGR | 111111 | A | 0 | [VPR Discipline]- | CV | 1234567 | A | Discipline Description 32: Acquisitions | [7 empty] | UNOFFICIAL |  | AEO CERTIFIED | WORK IN PROGRESS
[11 empty] | Abutment B |  | Approved For Construction |  | 999 | A1 | [Originator]- | [5 empty] | CI | AC | ANA |  | ZZ | 99 | [EDMS Amendment Level] | EL |  | B | Discipline Description 32: Administration | [7 empty] | OFFICIAL |  | AS BUILT | SHARED
[11 empty] | Aluminium Pedestrian Railing - Details |  | As Built |  |  | A2 | [Location or Sub-Location]- | [5 empty] | CM | AD | APL |  | 00 |  |  | FL |  | C | Discipline Description 32: Aesthetic Design and Mock Ups | [7 empty] | OFFICIAL: Sensitive - NSW Cabinet |  | FOR CONSTRUCTION | CLIENT SHARED
[11 empty] | Approach slabs |  | As Built Review (ABR) |  |  | A3 | [Discipline or Sub-Discipline]- | [5 empty] | CO | AH | BOM |  | 99 |  |  | SG |  |  | Discipline Description 32: Air Quality | [7 empty] | OFFICIAL: Sensitive - Legal |  | FOR CONTRACTOR DESIGN | PUBLISHED
[11 empty] | Bar Shapes Diagram |  | Asset Assurance Review |  |  | RA0 | [Document Type]- | [5 empty] | CV | AI | BOQ | [7 empty] | Discipline Description 32: Air Systems | [7 empty] | OFFICIAL: Sensitive - Law Enforcement |  | FOR COORDINATION | ARCHIVED
[11 empty] | Bearings |  | Asset Handover - PCA |  |  | RA1 | (Serial Number) | [5 empty] | CX | AM | BRF | [7 empty] | Discipline Description 32: Architectural | [7 empty] | OFFICIAL: Sensitive - Health Information |  | FOR COSTING
[11 empty] | Bore information |  | Concept Design - 100% | [9 empty] | CY | AQ | BRN | [7 empty] | Discipline Description 32: Architectural Signage System | [7 empty] | OFFICIAL: Sensitive - Personal |  | FOR INFORMATION
[11 empty] | Concept sketch |  | Concept Design - 20% | [9 empty] | DV | AS | CAL | [7 empty] | Discipline Description 32: Architecture Design | [7 empty] | OFFICIAL: Sensitive - NSW Government |  | FOR MANUFACTURE/PROCUREMENT
[11 empty] | Concrete |  | Concept Design - 50% | [9 empty] | EL | AT | CER | [7 empty] | Discipline Description 32: Asset Information System | [9 empty] | FOR REVIEW AND COMMENT
[11 empty] | Concrete - Culvert, Cast-in-Place |  | Concept Design - 80% | [9 empty] | EN | BC | CHK | [7 empty] | Discipline Description 32: Asset Management | [9 empty] | FOR STAGE APPROVAL
[11 empty] | Concrete - Pre-Tensioned, Precast Plank/Unit/I Girder/Trough Girder/Broad Flange Girder |  | Concept Design Development | [9 empty] | FE | BG | CLA | [7 empty] | Discipline Description 32: Assurance | [9 empty] | FOR TENDER
[11 empty] | Concrete - Reinforced/Prestressed Pile |  | Construction/Manufacture | [9 empty] | FL | BK | CNR | [7 empty] | Discipline Description 32: Bogie | [9 empty] | LEGACY INFORMATION
[11 empty] | Concrete, Deck Slab (including Concrete Overlay/Kerb/Parapet) |  | Critical Design Review (CDR) | [9 empty] | GN | BR | COM | [7 empty] | AEO/Design company name 31: `; Discipline Description 32: Bridge Structures | [9 empty] | NOT FOR SHARING
[11 empty] | Construction Sequence |  | Decommission and Disposal | [9 empty] | HY | BS | CON | [7 empty] | Discipline Description 32: Building Structures | [9 empty] | NOTE SUBMISSION WITH FURTHER COMMENTS
[11 empty] | Construction Staging |  | Defects (Asset Assurance) | [9 empty] | ME | CA | DRG | [7 empty] | Discipline Description 32: Business Case Management | [9 empty] | NOTE SUBMISSION WITH NO FURTHER COMMENTS
[11 empty] | Cover Plates |  | Detailed Design - 10% | [9 empty] | OP | CB | DST | [7 empty] | Discipline Description 32: Car Interiors | [9 empty] | TFNSW CONFIRMED
[11 empty] | Cover sheet |  | Detailed Design - 100% | [9 empty] | PC | CC | ECM | [7 empty] | Discipline Description 32: Carbody
[11 empty] | Deck |  | Detailed Design - 20% | [9 empty] | PM | CD | EVL | [7 empty] | Discipline Description 32: Change Management
[11 empty] | Deck Setting Out |  | Detailed Design - 50% | [9 empty] | PP | CE | FLN | [7 empty] | Discipline Description 32: Civil
[11 empty] | Design sketch |  | Detailed Design - 80% | [9 empty] | PT | CF | FRM | [7 empty] | Discipline Description 32: Clearance and Vesting
[11 empty] | Details |  | Detailed Design Review (DDR) | [9 empty] | SF | CG | GIS | [7 empty] | Discipline Description 32: Commercial Management
[11 empty] | Elastomeric Bearing |  | Developed Concept Design (DCD) | [9 empty] | SG | CH | GUD | [7 empty] | Discipline Description 32: Commissioning, Completions & Handover
[11 empty] | Expansion Joint |  | Final Business Case | [9 empty] | SN | CL | IEF | [7 empty] | Discipline Description 32: Communication
[11 empty] | Foundation Plan |  | Final Design Review (FDR) | [9 empty] | ST | CN | IMG | [7 empty] | Discipline Description 32: Communication Systems
[11 empty] | General |  | Final Detailed Design (FDD) | [9 empty] | TE | CP | INV | [7 empty] | Discipline Description 32: Communications
[11 empty] | General arrangement |  | Final Specification Review | [9 empty] | UT | CS | ITC | [7 empty] | Discipline Description 32: Communications Network Backbone Systems
[11 empty] | Geotechnical |  | Issue For Construction (IFC) | [10 empty] | CT | ITP | [7 empty] | Discipline Description 32: Community
[11 empty] | Girders |  | Issue for Tender | [10 empty] | CU | LET | [7 empty] | Discipline Description 32: Community Engagement
[11 empty] | Intelligent Transport Systems |  | Management | [10 empty] | CZ | LST | [7 empty] | Discipline Description 32: Condition Monitoring System
[11 empty] | Landscaping and Sight Envelope |  | Options Design | [10 empty] | DC | M2D | [7 empty] | Discipline Description 32: Configuration Change
[11 empty] | Metal Bridge Railing |  | Planning Approval | [10 empty] | DD | M3D | [7 empty] | Discipline Description 32: Configuration Management
[11 empty] | Miscellaneous/Supplementary |  | Pre-AFC | [10 empty] | DE | MAN | [7 empty] | Discipline Description 32: Construction Management
[11 empty] | n' m Span PSC Plank |  | Preliminary Design Review (PDR) | [10 empty] | DG | MEM | [7 empty] | Discipline Description 32: Contamination
[11 empty] | Pavement |  | Preliminary Detailed Design (PDD) | [10 empty] | DM | MFE | [7 empty] | Discipline Description 32: Contracts Administration
[11 empty] | Pedestrian Railing - Panels |  | Procurement (Contractor Supply) | [10 empty] | DN | MIN | [7 empty] | Discipline Description 32: Control Systems
[11 empty] | Pier |  | Procurement (TfNSW) | [10 empty] | DO | MKT | [7 empty] | Discipline Description 32: Cost Estimation
[11 empty] | Piles and pile layout |  | Property Acquisition | [10 empty] | DR | NTS | [7 empty] | Discipline Description 32: Cost Planning
[11 empty] | Pourable/Cork Joint Seal |  | Reference Design (SCR) | [10 empty] | DU | PLN | [7 empty] | Discipline Description 32: Coupling and Interconnection
[11 empty] | Property Works |  | Strategic Business Case | [10 empty] | DY | PPR | [7 empty] | Discipline Description 32: Customer Experience
[11 empty] | Proposal sketch |  | Strategic Design | [10 empty] | EB | PRG | [7 empty] | Discipline Description 32: Cyber Security
[11 empty] | Reinforcement |  | Substantial Detailed Design (SDD) | [10 empty] | EC | PRM | [7 empty] | Discipline Description 32: DDA Compliance
[11 empty] | Retaining Walls |  | System Concept Review (SCR) | [10 empty] | ED | PRO | [7 empty] | Discipline Description 32: Decommissioning
[11 empty] | Road Alignment and Details |  | System Design Review (SDR) | [10 empty] | EE | RCD | [7 empty] | Discipline Description 32: Demolition Plans
[11 empty] | Road Cross Sections |  | System Feasibility Review (SFR) | [10 empty] | EG | REG | [7 empty] | Discipline Description 32: Design Management
[11 empty] | Road Lighting |  | Systems Breakdown Review (SBR) | [10 empty] | EM | RFI | [7 empty] | Discipline Description 32: Development Management
[11 empty] | Roadside Furniture, Signposting and Pavement Marking |  | Testing & Commissioning | [10 empty] | EO | RPT | [7 empty] | Discipline Description 32: Digital Engineering
[11 empty] | Sheet A |  | Third Party Agreements | [10 empty] | ER | SCH | [7 empty] | Discipline Description 32: Document and Records Management
[11 empty] | Sheet B | [12 empty] | ES | SDG | [7 empty] | Discipline Description 32: Doors
[11 empty] | Site Clearance and Spoil Sites | [12 empty] | EV | SHE | [7 empty] | Discipline Description 32: Drainage
[11 empty] | Steel Pedestrian Railing - details | [12 empty] | EW | SKE | [7 empty] | Discipline Description 32: Drainage (excl. Stormwater)
[11 empty] | Steel TBR - Details | [12 empty] | EZ | SOW | [7 empty] | Discipline Description 32: Durability
[11 empty] | Stormwater Management | [12 empty] | FA | SPC | [7 empty] | Discipline Description 32: Earthing, Bonding & Electrolysis
[11 empty] | Structure Details | [12 empty] | FB | STD | [7 empty] | Discipline Description 32: Earthworks
[11 empty] | Traffic Barrier Railing - Panels | [12 empty] | FD | STG | [7 empty] | Discipline Description 32: Ecology
[11 empty] | Utilities | [12 empty] | FM | SUR | [7 empty] | Discipline Description 32: Economic, Financial & Commercial
[24 empty] | FN | TMP | [7 empty] | Discipline Description 32: Electrical
[24 empty] | FQ | TST | [7 empty] | Discipline Description 32: Electricity
[24 empty] | FR | VAR | [7 empty] | Discipline Description 32: Electromagnetic Compatibility (EMC)
[24 empty] | FS | VIS | [7 empty] | Discipline Description 32: Emergency Management
[24 empty] | FU | WAA | [7 empty] | Discipline Description 32: Energisation
[24 empty] | GA | WMS | [7 empty] | Discipline Description 32: Energy & Carbon
[24 empty] | GD | WTY | [7 empty] | Discipline Description 32: Energy Supply
[24 empty] | GE | [8 empty] | Discipline Description 32: Environment & Planning
[24 empty] | GL | [8 empty] | Discipline Description 32: Environmental Management
[24 empty] | HC | [8 empty] | Discipline Description 32: External Data Communications
[24 empty] | HD | [8 empty] | Discipline Description 32: Facilities and Amenities
[24 empty] | HE | [8 empty] | Discipline Description 32: Feasibility
[24 empty] | HF | [8 empty] | Discipline Description 32: Fencing, Barriers and Furniture
[24 empty] | HR | [8 empty] | Discipline Description 32: Fire
[24 empty] | HS | [8 empty] | Discipline Description 32: Fire Detection System
[24 empty] | HV | [8 empty] | Discipline Description 32: Fire Life and Safety
[24 empty] | HW | [8 empty] | Discipline Description 32: Fire service
[24 empty] | ID | [8 empty] | Discipline Description 32: Fire Systems Suppression
[24 empty] | IF | [8 empty] | Discipline Description 32: Fixed Plant & Equipment
[24 empty] | IM | [8 empty] | Discipline Description 32: Fleet Lighting
[24 empty] | IR | [8 empty] | Discipline Description 32: Fleet Systems & Equipment
[24 empty] | IS | [8 empty] | Discipline Description 32: Fuel Systems
[24 empty] | IT | [8 empty] | Discipline Description 32: Funding & Finance Management
[24 empty] | KS | [8 empty] | Discipline Description 32: Gas
[24 empty] | LA | [8 empty] | Discipline Description 32: Gas Systems
[24 empty] | LD | [8 empty] | Discipline Description 32: General
[24 empty] | LG | [8 empty] | Discipline Description 32: General Alignment
[24 empty] | LN | [8 empty] | Discipline Description 32: Geotechnical
[24 empty] | LR | [8 empty] | Discipline Description 32: Guidance & Delineation Systems
[24 empty] | LT | [8 empty] | Discipline Description 32: Hardware
[24 empty] | LV | [8 empty] | Discipline Description 32: Head Contract/s
[24 empty] | MB | [8 empty] | Discipline Description 32: Health & Safety
[24 empty] | MD | [8 empty] | Discipline Description 32: Heritage
[24 empty] | MQ | [8 empty] | Discipline Description 32: Hoarding
[24 empty] | MS | [8 empty] | Discipline Description 32: HR & Training
[24 empty] | MU | [8 empty] | Discipline Description 32: Human Factors
[24 empty] | NB | [8 empty] | Discipline Description 32: HV Electrical Systems
[24 empty] | NC | [8 empty] | Discipline Description 32: HVAC Systems
[24 empty] | NI | [8 empty] | Discipline Description 32: Hydraulic
[24 empty] | NN | [8 empty] | Discipline Description 32: Information Systems
[24 empty] | NS | [8 empty] | Discipline Description 32: Information Technology Network Systems
[24 empty] | NT | [8 empty] | Discipline Description 32: Instrumentation and Monitoring
[24 empty] | NV | [8 empty] | Discipline Description 32: Insurance
[24 empty] | OA | [8 empty] | Discipline Description 32: Intelligent Transport Systems
[24 empty] | OC | [8 empty] | Discipline Description 32: Interchange (Station, Stop & Wharf) Structures
[24 empty] | OR | [8 empty] | Discipline Description 32: Interior Design
[24 empty] | OS | [8 empty] | Discipline Description 32: ITS
[24 empty] | OT | [8 empty] | Discipline Description 32: Land Use & Management
[24 empty] | PA | [8 empty] | Discipline Description 32: Landscaping
[24 empty] | PB | [8 empty] | Discipline Description 32: Legal
[24 empty] | PE | [8 empty] | Discipline Description 32: Licenses (Non Software)
[24 empty] | PG | [8 empty] | Discipline Description 32: LRV General
[24 empty] | PH | [8 empty] | Discipline Description 32: LV Electrical & Lighting Systems
[24 empty] | PI | [8 empty] | Discipline Description 32: Mechanical
[24 empty] | PJ | [8 empty] | Discipline Description 32: Media Management
[24 empty] | PR | [8 empty] | Discipline Description 32: Miscellaneous Structures
[24 empty] | PU | [8 empty] | Discipline Description 32: Mobile Plant & Equipment
[24 empty] | PV | [8 empty] | Discipline Description 32: Mobilisation & Site Establishment
[24 empty] | QM | [8 empty] | Discipline Description 32: Multi-discipline Services
[24 empty] | RA | [8 empty] | Discipline Description 32: National Construction Code Compliance
[24 empty] | RE | [8 empty] | Discipline Description 32: Navigation Systems
[24 empty] | RM | [8 empty] | Discipline Description 32: Network Control Communication Systems
[24 empty] | RP | [8 empty] | Discipline Description 32: Network Interface
[24 empty] | RQ | [8 empty] | Discipline Description 32: Noise & Vibration
[24 empty] | RS | [8 empty] | Discipline Description 32: Operation Management
[24 empty] | RV | [8 empty] | Discipline Description 32: Operational Control
[24 empty] | RW | [8 empty] | Discipline Description 32: Operational Readiness
[24 empty] | SB | [8 empty] | Discipline Description 32: Options Analysis
[24 empty] | SC | [8 empty] | Discipline Description 32: Overhead & Support Structures
[24 empty] | SD | [8 empty] | Discipline Description 32: Overhead Traction Systems
[24 empty] | SE | [8 empty] | Discipline Description 32: Passenger Information System
[24 empty] | SI | [8 empty] | Discipline Description 32: Pavement
[24 empty] | SK | [8 empty] | Discipline Description 32: People & Culture
[24 empty] | SM | [8 empty] | Discipline Description 32: Petroleum products
[24 empty] | SP | [8 empty] | Discipline Description 32: Planning Management
[24 empty] | SR | [8 empty] | Discipline Description 32: Plumbing
[24 empty] | SS | [8 empty] | Discipline Description 32: Probity
[24 empty] | SU | [8 empty] | Discipline Description 32: Procurement
[24 empty] | SV | [8 empty] | Discipline Description 32: Program & Planning Management
[24 empty] | SW | [8 empty] | Discipline Description 32: Program Governance & Co-Ordination
[24 empty] | SY | [8 empty] | Discipline Description 32: Project Accounting
[24 empty] | TA | [8 empty] | Discipline Description 32: Project Controls
[24 empty] | TC | [8 empty] | Discipline Description 32: Project Management
[24 empty] | TF | [8 empty] | Discipline Description 32: Project Reporting Management
[24 empty] | TI | [8 empty] | Discipline Description 32: Project Scheduling
[24 empty] | TK | [8 empty] | Discipline Description 32: Property
[24 empty] | TM | [8 empty] | Discipline Description 32: Property Adjustments & Subdivision
[24 empty] | TP | [8 empty] | Discipline Description 32: Propulsion and Braking
[24 empty] | TR | [8 empty] | Discipline Description 32: Quality Management
[24 empty] | TT | [8 empty] | Discipline Description 32: Rail Safety Accreditation
[24 empty] | TU | [8 empty] | Discipline Description 32: RAM Reliability, Availability and Maintainability
[24 empty] | TW | [8 empty] | Discipline Description 32: Real Estate and Valuation
[24 empty] | TY | [8 empty] | Discipline Description 32: Requirements Management
[24 empty] | UC | [8 empty] | Discipline Description 32: Retaining Structures
[24 empty] | UD | [8 empty] | Discipline Description 32: Risk Management
[24 empty] | UE | [8 empty] | Discipline Description 32: Roadworks
[24 empty] | UF | [8 empty] | Discipline Description 32: Safety
[24 empty] | UG | [8 empty] | Discipline Description 32: Security
[24 empty] | UI | [8 empty] | Discipline Description 32: Security Systems
[24 empty] | UN | [8 empty] | Discipline Description 32: Service Routes
[24 empty] | UP | [8 empty] | Discipline Description 32: Sewer
[24 empty] | US | [8 empty] | Discipline Description 32: Sewer Systems
[24 empty] | UW | [8 empty] | Discipline Description 32: Signalling & Control
[24 empty] | VA | [8 empty] | Discipline Description 32: Signalling Systems
[24 empty] | VE | [8 empty] | Discipline Description 32: Site Security
[24 empty] | VT | [8 empty] | Discipline Description 32: Software
[24 empty] | WA | [8 empty] | Discipline Description 32: Spoil Management
[24 empty] | WD | [8 empty] | Discipline Description 32: Stakeholder Engagement
[24 empty] | WF | [8 empty] | Discipline Description 32: Statutory Planning
[24 empty] | WI | [8 empty] | Discipline Description 32: Stormwater Drainage
[24 empty] | WK | [8 empty] | Discipline Description 32: Structural
[24 empty] | WM | [8 empty] | Discipline Description 32: Surveying
[24 empty] | WS | [8 empty] | Discipline Description 32: Sustainability
[24 empty] | WW | [8 empty] | Discipline Description 32: System Integration
Systems Engineering
Technical Engineering Management
Technology
Temporary Works
Ticketing Systems
Track
Traffic Information Systems
Traffic Management
Traffic Monitoring Systems
Traffic Regulatory Systems
Traffic Safety Systems
Transaction Management
Transport Planning
Tunnel Structures
Unidentified services
Urban Design
Utilities
Vertical Transportation
Waste Management
Water
Water Management
Water Systems
Wayfinding
Wind
Wireless System
Workforce Development

## Standard Version Control
Standard Version Control
Owner: | Workstream Specialists
Authoriser: | Senior Manager Digital Engineering Governance
Approver: | Director Digital Twin Integration
Uniclass2015 Tables: Versions and Release Dates
Table | Version | Release Date | Updated/ Reviewed Date | Group
Co Complexes | 1.15 | 2022-04-25 | 2022-07-31 | Location Classification
EF Elements/functions | 1.11 | 2022-04-25 | 2022-07-31 | Asset Classification
En Entities | 1.24 | 2022-04-25 | 2022-07-31 | Location Classification
Pr Products | 1.26 | 2022-04-25 | 2022-07-31 | Asset Classification
SL Spaces/ locations | 1.23 | 2022-04-25 | 2022-07-31 | Location Classification
Ss Systems | 1.26 | 2022-04-25 | 2022-07-31 | Asset Classification
TfNSW Standard Data: Versions and Release Dates
Table | Version | Release Date | Updated/ Reviewed Date
Asset Status | ASA v1.8 | 28/01/2021 | 2022-05-20
Contract Types | ver 4.0 | 16/11/2020 | 2022-05-20
Coordinate Systems | ver 4.2 | 30/09/2021 | 2022-05-20
Disciplines | ver 4.1 | 15/11/2021 | 2022-05-20
Document Type | ver 4.0 | 16/11/2020 | 2022-05-20
Drawing Type | ver 0.1 | 16/11/2020 | 2022-05-20
iNSW Project Phases | ver 4.0 | 16/11/2020 | 2022-05-20
Originators | ver 4.34 | 25/03/2022 | 2022-05-20
Project Milestones | ver 4.1 | 25/02/2022 | 2022-05-20
Review Status | ver 4.0 | 16/11/2020 | 2022-05-20
Security Classification | ver 5.0 | 29/06/2021 | 2022-05-20
State | ver 4.0 | 16/11/2020 | 2022-05-20
Sub-Disciplines | ver 4.2 | 15/11/2021 | 2022-05-20
Suitability | ver 4.0 | 16/11/2020 | 2022-05-20
Work Package Groups | ver 4.2 | 24/03/2022 | 2022-05-20
Work Type (Location) | ver 4.0 | 16/11/2020 | 2022-05-20
Work Type (Work Package) | ver 4.0 | 16/11/2020 | 2022-05-20
For queries regarding this document,
please email the Digital Engineering team at
Digital.engineering@transport.nsw.gov.au
or visit www.transport.nsw.gov.au/digitalengineering