## Cover page
DMS-FT-493
Digital Engineering Project Data Schema
Utility Schema & Specification
Version: | 1.2
Issued date: | December 2022
Important Warning
This document is one set of standards developed solely and specifically for use on Transport Assets (as defined in the Asset Standards Authority Charter). It is not suitable for any other purpose. The copyright and any other intellectual property in this document will at all times remain the property of the State of New South Wales (Transport for NSW). You may not use or adapt this document or rely upon it in any way unless you are providing products or services to a NSW Government agency and that agency has expressly authorised you in writing to do so. If this document forms part of a contract with, or is a condition of approval by a NSW Government agency, use of the document is subject to the term of the contract or approval. To be clear, the content of this document is not licensed under any Creative Commons Licence. This document may contain third party material. The inclusion of third party material is for illustrative purposes only and does not represent an endorsement by NSW Government of any third party product or service. If you use this document or rely upon it without authorisation under these terms, the State of New South Wales (including Transport for NSW) and its personnel does not accept any liability to you or any other person for any loss, damage, costs and expenses that you or anyone else may suffer or incur from your use and reliance on the content contained in this document. Users should exercise their own skill and care in the use of the document. This document may not be current and is uncontrolled when printed or downloaded. Standards may be accessed from the Digital Engineering Framework website at:
www.transport.nsw.gov.au/digitalengineering

## Preface
DMS-FT-493
Utility Schema & Specification
Version: 1.2
Issued date: December 2022
Preface
Transport for New South Wales (TfNSW) is developing and implementing the Digital Engineering (DE) Framework to support projects as they adopt new digital ways of working. The way assets are planned, designed, constructed, operated and maintained are becoming faster and more accurate as a result of emerging technologies. The DE Framework connects these technologies across various project disciplines together with reliable, structured data. Consistent DE processes provide TfNSW with an approach that enables digital information to become a key enabler of better project outcomes. This includes, but is not limited to; stakeholder engagement, informed decision making, improved asset knowledge, capability and capacity planning. Applying this unified vision will accelerate the value of DE, and simplify these new ways of working for both our project teams and industry, providing valuable insights, creating efficiencies and delivering cost savings throughout the project lifecycle. This document should be read in conjunction with all related DE Framework documentation. Any application of the DE Framework or any of its parts must be considered in a project-specific context. Adoption of the DE Framework should be undertaken in consultation with the DE Team to ensure best appropriate practice.

## Project Document Governance
Project Number:
Project Title:
Document Number:
Document Title:
TfNSW DE Template Release Version: | 1.2
Document Governance
Owner: | Digital Engineering Manager
Endorser:
Approver:
Document History
Revision History | Summary of Changes | Date Created/ Updated

## Standard governance
DMS-FT-493
Utility Schema & Specification
Version: 1.2
Issued date: December 2022
Standard governance
Owner: | Workstream Specialists
Authoriser: | Senior Manager Digital Engineering Governance
Approver: | Director Digital Twin Integration
Document history
Version | Summary of Changes
1 | DE Standard Release 4. Multimodal update.
1.1 | New tab added- Document Governance
1.2 | DE Standard Release 4.1 Multimodal update.
"Unique identified" changed to "Asset identifier" in all sheets
All business definition have been reviewed and edited
"Encasement" changed to "Limitation" _ PDS list updated
"Limitation" data changed from "preferred" to "Mandatory"
"Integer" changed to "Real number" in field type columns
"Report" field data changed to "conditional"
Duplicated row "Asset Type Code" in "Asset Feature" field group deleted
"Coordinate System" and "Contractor Information" field groups rows have been added to the "Utility Configuration Spec" sheet
"Coordinate System" and "Contractor Information" tables have been added to the "Utility PDS" sheet
"IFC property set" and "IFC attributes" columns have been added to the "Utility Configuration Spec" sheet
For queries regarding this document,
please email the Digital Engineering team at
Digital.engineering@transport.nsw.gov.au
or visit www.transport.nsw.gov.au/digitalengineering

## Utility Configuration Spec
Field Group | Field Name | Field Type | Business Definition | Mandatory Data | Responsibility | Captured When (Indicative) | IFC Property Set | Attribute Name
Asset Identifier | Asset Identifier | Alphanumerical | Utility Asset Identifier (Unique ID) must be unique for each utility asset. The AssetID should be prefixed with the Asset Type Code for ease of reference. The Asset ID can be applied in the office as post processing | Yes | Surveyor(1) | Office | AS5488 | AssetIdentifier
Asset Type | Asset Type Code | Domain List: Asset Type Code | Asset Type and Asset Subtype refer to the type and subtype of Utility Asset identified. See "Utility PDS" for descriptions. Asset Type Code and Asset Subtype Code applied to each utility asset, if the asset is not specified/ unknown, it should be listed under 'N' 'Not Specified' and/or 'UNK' 'Unknown Feature'. Asset Type Code and Asset Subtype Code as per AS 5488:2019 Part 2 Table A.4 with some minor amendments. | Yes | Surveyor(1) | Field | AS5488 | AssetTypeCode
| Asset Type | Domain List: Asset Type |  | Yes | Contractor(2) | Automatic | AS5488 | AssetType
| Asset Subtype Code | Domain List: Asset Subtype Code |  | Yes | Surveyor(1) | Field | AS5488 | AssetSubtypeCode
| Asset Subtype | Domain List: Asset Subtype |  | Yes | Contractor(2) | Automatic | AS5488 | AssetSubtype
| Asset Subtype Description | Free Text |  | No | Contractor(2) | Automatic | AS5488 | AssetSubtypeDescription
Asset Feature | Asset Feature | Domain List: Asset Feature | Asset Feature Codes must be applied to each utility asset, mapped to the Asset Type Code, if the asset is unknown, it should be listed as 'Unknown'. Asset Feature Code as per AS 5488:2019 Part 2 Table A.4.2 to Table A.4.17 with some additions. Refer to "Utility PDS" for descriptions. | Yes | Contractor(2) | Field | AS5488 | AssetFeature
| Asset Feature Description | Free Text |  | No | Contractor(2) | Automatic | AS5488 | AssetFeatureDescription
Asset Owner | Asset Owner | Domain List: Asset Owner | Asset owner is the utility authority / organisation responsible for the asset. Asset Owner to be captured in the field if known, but must be verified by the Contractor. Asset Owner must be applied using the exact field values to each utility asset. For additional Asset Owners, please request a new field value from TfNSW or project team. | Yes | Surveyor(1) | Field | AS5488 | AssetOwner
Asset Status | Asset Status | Domain List: Asset Status | Asset Status refers to the functionality of the asset as determined by the asset owner at the time of survey. Asset Status to be captured in the field if known, but must be verified by the contractor with the utility owner. Asset Status refers to current status, for updated/ future status refer to Treatment Field. Asset Status as per AS 5488:2019 Part 2 Table A.4.18 with addition fields | Yes | Contractor(2) | Field | AS5488 | AssetStatus
Capacity | Capacity | Domain List: Capacity | Asset capacity to be captured in the field if known, but should be verified by the contractor with the utility owner. Asset Status as per AS 5488:2019 Part 2 Table A.4.1 and Table A.4.2 with addition fields | Yes | Contractor(2) | Office | AS5488 | Capacity
Size | Size | Domain List: Size | Size is measured in millimetres for all utility assets. Pipe size should be measured as the inside diameter. Culverts should be measured using width by height (WxH) from the inside face. Pits should be measured as the inside dimensions of the pit chamber, not pit lid or similar. Use Size description if required, including if size is assume or validated | Yes | Surveyor(1) | Field | AS5488 | Size
| Size Description | Free Text |  | No | Surveyor(1) | Field | AS5488 | SizeDescription
Configuration | Configuration | Domain List: Configuration | Configuration is the number of pipes/ conduits displayed as width by height (WxH). Use 'Single' if only one pipe/ conduit. Use the Configuration Description if required for non-standard arrangements or additional details. | Yes | Surveyor(1) | Field | AS5488 | Configuration
| Configuration Description | Free Text |  | No | Surveyor(1) | Field | AS5488 | ConfigurationDescription
Material | Material | Domain List: Material | Material refers to the pipe or conduit material (not what is inside the pipe or conduit). Material must be applied using the exact field name to each utility asset, if the material is not listed below or multiple materials are used (i.e. Nylon sleeve inside CICL), select 'Other' and add brief description. | Yes | Surveyor(1) | Field | AS5488 | Material
| Material Description | Domain List: Material Description |  | Conditional | Surveyor(1) | Field | AS5488 | MaterialDescription
Limitation | Limitation | Domain List: Limitation | Limitation refers to any protective or identification material that limits physical access to the utility asset. Limitation must be applied using the exact field name to each utility asset if applicable | Yes | Surveyor(1) | Field | AS5488 | Limitation
Depth Location | Depth Location | Domain List: Depth Location | Depth Location describes the point where the asset was surveyed. For example invert or Top of Pipe. Depth Location as per AS 5488:2019 Part 2 Table A.4.5 with additions. | Yes | Surveyor(1) | Field | AS5488 | DepthLocation
Depth | Depth | Real Number (metres) | Depth value in metres, from the Depth Location to the surface. Depth can be automated using the surveyed string and the ground surface. Add extra detail in the Depth Description including minimum and maximum depth if required | Yes | Surveyor(1) | Field | AS5488 | Depth
| Depth Description | Free Text |  | Conditional | Surveyor(1) | Field | AS5488 | DepthDescription
Quality Level | Quality Level | Domain List: Quality Level | Quality Level refers to the way in which a service has been marked out or located, and the confidence that can be attached to its stated position. Quality Level as per AS 5488:2019 Part 2 Table A.4.14 with Unknown added if required | Yes | Surveyor(1) | Field | AS5488 | QualityLevel
Condition | Condition | Domain List: Condition | Condition must be applied using the exact field name to each utility asset if applicable | No | Surveyor(1) | Field | AS5488 | Condition
Utility Install Date | Utility Install Date | Date (YYYY/MM/DD) | Utility Install Date provided if known in format YYYY/MM/DD | Yes | Contractor(2) | Office | AS5488 | UtilityInstallDate
Source of Information | Source of Information | Domain List: Source of Information | Refers to the major source of information used in locating the asset. (The entity that supplied the primary information). Source of Information as per AS 5488:2019 Part 2 Table A.4.4 with Unknown added if required | Yes | Contractor(2) | Office | AS5488 | SourceofInformation
Locate Method | Locate Method | Domain List: Locate Method | Locate Method refers to the primary method of locating the asset used in the field. Locate Method as per AS 5488:2019 Part 2 Table A.4.12 with Unknown added if required | Yes | Surveyor(1) | Field | AS5488 | LocateMethod
Date Information Obtained | Date Information Obtained | Date (YYYY/MM/DD) | Date the information added to the model. E.g. Date of Survey in format YYYY/MM/DD. | Yes | Surveyor(1) | Automatic | AS5488 | DateInfoObtained
Location | Location | Free Text | Location refers to nearest road or project location for ease of reference | No | Surveyor(1) | Office | AS5488 | Location
Reports | Pothole Report | Free Text | Report describing findings in the field regarding potholes done or pits investigated. Pothole and Pit Report reference to file name and/ or link to shared location | Conditional | Surveyor(1) | Office | AS5488 | PotholeReport
| Pit Report | Free Text |  | Conditional | Surveyor(1) | Office | AS5488 | PitReport
Clash | Clash | Domain List: Clash | Clash must be applied to each utility asset once they are known. Additional details including Clash Description, Clash ID and Clash Risk used as supplementary information to support the design and construction process. | Yes | Contractor(2) | Office | AS5488 | Clash
| Clash Description | Free Text |  | No | Contractor(2) | Office | AS5488 | ClashDescription
| Clash ID | Free Text |  | No | Contractor(2) | Office | AS5488 | ClashID
| Clash Risk | Domain List: Clash Risk |  | Conditional | Contractor(2) | Office | AS5488 | ClashRisk
Treatment | Treatment | Domain List: Treatment | Treatment must be applied to each utility asset once they are known. Additional details including Treatment Description, Treatment Reference, Treatment Length and Treatment Risk used as supplementary information to support the design and construction process. | Yes | Contractor(2) | Office | AS5488 | Treatment
| Treatment Description | Free Text |  | No | Contractor(2) | Office | AS5488 | TreatmentDescription
| Treatment Reference | Free Text |  | No | Contractor(2) | Office | AS5488 | TreatmentReference
| Treatment Length | Real Number (metres) |  | Conditional | Contractor(2) | Office | AS5488 | TreatmentLength
| Treatment Risk | Domain List: Treatment Risk |  | Conditional | Contractor(2) | Office | AS5488 | TreatmentRisk
Notes | Notes | Free Text | Notes used to add extra information or comments not recorded in this schema | No | Surveyor(1) | Office | AS5488 | Notes
Co-ordinate System | Co-ordinate System | Domain List: tbCoordSys | Survey coordinates system including first Geocentric Datum of Australia (GDA) information and Map Grid of Australia (MGA) | Yes | Surveyor(1) | Field | TfNSW_Project | tbCoordSys
Contractor Information | Originator Name | Domain List: Organisation Name | The full name of contracted organisation responsible for capturing or creating the data. | Yes | Contractor(2) | Office | TfNSW_Project | TfNSW_ContractOrgCode
| Originator Code | Domain List: Organisation Code | The contracted Organisation Code for the organisation responsible for the data. The unique company code is provided by TfNSW document control. | Yes | Contractor(2) | Office | TfNSW_Project | TfNSW_ContractOrgName
Surveyor(1) | Surveyor responsible for capturing data and applying as attributes in the field or post processing in the office. If the utility survey provided as part of the contract does not contain these required fields, the Contractor or PSC must apply these fields to the string model using the survey, Before You Dig Australia (BYDA) and other relevant information, before creating the BIM Model of all existing and proposed subsurface and surface utilities.
Contractor(2) | Contractor refers to construction contractor or Professional Service Contractor (PSC)

## Utility PDS
Field Group | Unique Identified | Asset Type |  |  |  |  | Asset Feature |  |  | Asset Owner | Asset Status | Capacity |  | Size |  | Configuration |  | Material |  | Limitation | Depth Location | Depth |  | Quality Level | Condition | Utility Install Date | Source of Information | Locate Method | Date Information Obtained | Location | Reports |  | Clash |  |  |  | Treatment |  |  |  |  | Notes | Coordinate System |  | Contractors Name
Field Name | Asset Identifier | Asset Type Code | Asset Type | Asset Subtype Code | Asset Subtype | Asset Subtype Description | Asset Type Code | Asset Feature | Asset Feature Description | Asset Owner | Asset Status | Asset Type Code | Capacity | Size | Size Description | Configuration | Configuration Description | Material | Material Description | Limitation | Depth Location | Depth | Depth Description | Quality Level | Condition | Utility Install Date | Source of Information | Locate Method | Date Information Obtained | Location | Pothole Report | Pit Report | Clash | Clash Description | Clash ID | Clash Risk | Treatment | Treatment Description | Treatment Reference | Treatment Length | Treatment Risk | Notes | Co-ordinate Systems | EPSG Code | Contracted Organisation Code | Contracted Organisation Name
[43 empty] | Airport Grid System | 0000 | 4TEL | 4Tel Pty Ltd
Field Value | C-123456789 | C | Communication | CON | Comms in own network |  | C | Aerial (Overhead) |  | AAPT (TPG Pipe Networks Powertel SOUL) | Abandoned |  | Not Applicable | Not Applicable |  | Not Applicable |  | Asbestos |  | None | Centre |  |  | Quality Level A | New |  | BYDA | Archive Drawings and Plans |  |  |  |  | No |  |  | Red | Abandon |  |  |  | Red |  | Tunnel Grid System | 0000 | AAMB | Aambianz
|  | C | Communication | COP | Copper Mains |  | C | Cabinet |  | AARNET | Disused | E | 110kV | 100 |  | Single |  | Bare |  | Concrete Protection Slab | Ground Level |  |  | Quality Level B | Excellent |  | Locator | Electronic Detection |  |  |  |  | Hard |  |  | Amber | Leave in Situ (No Works) |  |  |  | Amber |  | GDA1994MGA54 | 28354 | AAMGR | AAM Group
|  | C | Communication | COT | Comms within Other provider |  | C | Cabling (Direct Buried) |  | Ausgrid | In Service | E | 11kV | 225 |  | 2 x 1 |  | Brick |  | Mass Concrete | Invert |  |  | Quality Level C | Good |  | Utility Owner | Geographic Information System |  |  |  |  | Soft |  |  | Green | Protection |  |  |  | Green |  | GDA1994MGA55 | 25355 | AAPT | AAPT/PowerTel
|  | C | Communication | CX | Coax |  | C | Conduit (Empty) |  | Ausnet | Unknown | E | 12V | 375 |  | 2 x 2 |  | Cable |  | Reinforced Concrete | Obvert |  |  | Quality Level D | Fair |  | Unknown | Ground Penetrating Radar |  |  |  |  | Unknown |  |  | Black | Modification |  |  |  | Black |  | GDA1994MGA56 | 28356 | AARN | AARnet
|  | C | Communication | OFU | Optic Fibre |  | C | Conduit (with Cable) |  | Caltex |  | E | 132kV | 450 |  | 2 x 3 |  | Cast Iron |  | Concrete Encasement | Plastic Cover Protection Encountered |  |  | Unknown | Poor |  |  | Potholing | [7 empty] | Unknown | Relocation |  |  |  | Unknown |  | GDA1994NSWLambert | 3308 | ABCI | Abergeldie Complex Infrastructure
|  | C | Communication | UNK | Unknown |  | C | Controller |  | Endeavour Energy |  | E | 1500V | 600 |  | 2 x 4 |  | Cast Iron (with Nylon insert) |  | Trace Wire | Top of Concrete Encasement |  |  |  | Very Poor / Unserviceable |  |  | Survey | [8 empty] | Proposed | [5 empty] | GDA1994 | 4938 | ABGC | Abergeldie Contractors
|  | D | Drainage | SW | Stormwater |  | C | Junction Box |  | Energy Australia |  | E | 220kV | 1200 x 900 |  | 3 x 1 |  | CICL - Cast Iron Cement Lined |  | Bricks | Top of Pipe |  |  |  | Unknown |  |  | Unknown | [8 empty] | Unknown | [5 empty] | GDA2020MGA54 | 7854 | ACOM | Acorn Communications
|  | D | Drainage | UNK | Unknown |  | C | Marker |  | Essential Energy |  | E | 22kV | 1500 x 1500 |  | 3 x 2 |  | Composite |  | Stabilised Sand | Top Row Invert | [21 empty] | GDA2020MGA55 | 7855 | ACOP | ACO Polycrete
|  | E | Electricity | HV | High Voltage Assets |  | C | Pillar |  | iiNET |  | E | 240V | 1800 x 1800 |  | 3 x 3 |  | Concrete (Incl Reinforced) |  | Steel Pipe | Other | [21 empty] | GDA2020MGA56 | 7856 | ACSU | AC Surveying
|  | E | Electricity | LV | Low Voltage Assets |  | C | Pit |  | Jemena |  | E | 330kV | 2400 x 2400 |  | 3 x 4 |  | Concrete (Incl Reinforced) Lined |  | Master Tape | Unknown | [21 empty] | GDA2020NSWLambert | 8058 | ADAP | Arcadis Australia Pacific Pty Ltd
|  | E | Electricity | OT | Overhead Traction Assets |  | C | Pole |  | NBN |  | E | 33kV | 3600 x 3600 |  | 4 x 1 |  | Copper |  | Unknown | [22 empty] | GDA2020 | 7842 | ADGEN | ADG Engineers (Aust) Pty Ltd
|  | E | Electricity | TM | Electrical Transmission Assets |  | C | Service Connection |  | OptiComm |  | E | 400V | 600 x 300 |  | 4 x 2 |  | DICL - Ductile Iron Cement Lined | [24 empty] | WGS84 | 4979 | AECM | AECOM
|  | E | Electricity | UNK | Unknown |  | C | Other |  | Optus (UECOMM) |  | E | 415V | etc. |  | 4 x 3 |  | EW - Earthenware | [24 empty] | GDA1994MGA57 | 28357 | AEOEP | AEOEP
|  | F | Fire Service | C | Chemical |  | C | Unknown |  | Powercor |  | E | 500kV | Unknown |  | 4 x 4 |  | GI - Galvanised Iron | [24 empty] | GDA2020MGA57 | 7857 | AGL | AGL Energy
|  | F | Fire Service | P | Potable |  | D | Culvert |  | Primus Telecom |  | E | 5kV |  |  | etc. |  | HDPE - High Density Polyethylene | [24 empty] | Truncated ISG Planar | 0000 | AGP | Abigroup
|  | F | Fire Service | UNK | Unknown |  | D | Gross Pollutant Trap |  | Superloop |  | E | 660kV |  |  | Unknown |  | Insulated | [24 empty] | AGD66/ISG_54_2 | 102072 | AIA | ocaters
|  | G | Gas | E | Ethane Gas Assets |  | D | Headwall |  | Sydney Trains (Rail Corp) |  | E | 66kV |  |  |  |  | Nylon | [24 empty] | AGD66/ISG_54_3 | 102073 | ALLPD | Alliance Power and Data
|  | G | Gas | HP | High Pressure |  | D | Pipe |  | Sydney Water |  | E | 750V |  |  |  |  | PE - Polyethylene | [24 empty] | AGD66/ISG_55_1 | 102074 | ALS | Alstom Transport Australia Pty Limited
|  | G | Gas | LNG | Liquified Natural Gas Assets |  | D | Pit |  | Telstra |  | E | Unknown |  |  |  |  | PP - Polypropylene | [24 empty] | AGD66/ISG_55_2 | 102075 | ALTRC | ALTRAC
|  | G | Gas | LP | Low Pressure |  | D | Property Connection |  | TransGrid |  | G | 1000kPa |  |  |  |  | PVC - Polyvinylchloride | [24 empty] | AGD66/ISG_55_3 | 102076 | ALTRN | Altran UK
|  | G | Gas | LPG | Liquified Petroleum Gas Assets |  | D | Pump Well |  | Transport for NSW (Inc RMS) |  | G | 100kPa |  |  |  |  | PVC Lined - Polyvinylchloride | [24 empty] | AGD66/ISG_56_1 | 102077 | AMEYC | Amey Consulting Australia Pty Ltd
|  | G | Gas | MP | Medium Pressure |  | D | Rising Main |  | Verizon (Inc World Comm) |  | G | 1050kPa |  |  |  |  | SCL - Steel Cement Lined | [24 empty] | AGD66/ISG_56_2 | 102078 | AMLT | Airport Motorway Limited
|  | G | Gas | UNK | Unknown |  | D | Support Structure |  | Vocus (First Path Nextgen) |  | G | 2000kPa |  |  |  |  | SGW - Salt Glazed Ware | [24 empty] | AGD66/ISG_56_3 | 102079 | AMOGC | AMOG Consulting
|  | I | ITS | CX | Coax |  | D | Surface Channel |  | Vodafone |  | G | 210kPa |  |  |  |  | Stainless Steel | [26 empty] | AMSPT | AMS Project Team
|  | I | ITS | IT | ITS |  | D | Other |  | WaterNSW |  | G | 2kPa |  |  |  |  | Steel (Incl Steel Toughing) | [26 empty] | APP | APP Corporation
|  | I | ITS | OFU | Optic Fibre |  | D | Unknown |  | Private |  | G | 300kPa |  |  |  |  | VC - Vitrified Clay | [26 empty] | AQA | Aquenta
|  | I | ITS | SG | Signalling |  | E | Aerial (Overhead) |  | Unknown |  | G | 30kPa |  |  |  |  | Wood/ Timber | [26 empty] | AQS | Aquas Pty Ltd
|  | I | ITS | UNK | Unknown |  | E | Cabinet |  | Other |  | G | 3500kPa |  |  |  |  | Other (Specify in Description Field) | [26 empty] | ARCH | Architectus Group Pty Ltd
|  | P | Petroleum | HP | High Pressure |  | E | Cabling (Direct Buried) |  |  |  | G | 400kPa |  |  |  |  | Unknown | [26 empty] | ARCO | Abbott Risk Consulting Ltd
|  | P | Petroleum | LP | Low Pressure |  | E | Cathodic Protection |  |  |  | G | 420kPa | [31 empty] | ARENC | Arenco (NSW) Pty Ltd
|  | P | Petroleum | MP | Medium Pressure |  | E | Conduit (Empty) |  |  |  | G | 7000kPa | [31 empty] | ARRB | Australian Road Research Board
|  | P | Petroleum | UNK | Unknown |  | E | Conduit (with Cable) |  |  |  | G | 700kPa | [31 empty] | ARTC | Australian Rail Track Corporation Limited
|  | S | Sewer | GS | Gravity Sewer |  | E | Earthing |  |  |  | G | 7kPa | [31 empty] | ARUP | ARUP
|  | S | Sewer | GW | Grey Water |  | E | Flood Lighting |  |  |  | G | Unknown | [31 empty] | ASA | Asset Standards Authority
|  | S | Sewer | RM | Rising Main Sewer |  | E | Service Connection | [36 empty] | ASCC | Ashfield City Council
|  | S | Sewer | SI | Siphon Sewer |  | E | Junction Box | [36 empty] | BEBLN | B & E Blanch Pty Ltd
|  | S | Sewer | UNK | Unknown |  | E | Marker | [36 empty] | BECA | Beca
|  | S | Sewer | V | Vacuum Sewer |  | E | Multi Function Pole | [36 empty] | BGCA | Bouygues Construction Australia
|  | S | Sewer | WW | Waste Water |  | E | Pillar | [36 empty] | BGCP | Botanic Gardens & Centennial Parklands
|  | W | Water | IR | Irrigation |  | E | Pit | [36 empty] | BGE | BG&E Pty Ltd
|  | W | Water | POT | Potable |  | E | Pole | [36 empty] | BIELB | Bielby Holdings
|  | W | Water | RAW | Raw |  | E | Street Light | [36 empty] | BKCC | Bankstown City Council
|  | W | Water | REC | Recycled or Re-used |  | E | Substation | [36 empty] | BLCC | Blacktown City Council
|  | W | Water | UNK | Unknown |  | E | Switch | [36 empty] | BMTTR | Blue Mountains Transit P/L (ComfortDelGro P/L)
|  | N | Not Specified | UNK | Unknown Feature |  | E | Tower | [36 empty] | BRCC | Burwood City Council
[7 empty] | E | Transformer | [36 empty] | BSKY | Blue Sky Design Group Pty Ltd
[7 empty] | E | Other | [36 empty] | BSMA | Broadspectrum (Australia) Pty Ltd
[7 empty] | E | Unknown | [36 empty] | BTCC | Botany City Council
[7 empty] | F | Fitting | [36 empty] | BUSAB | Busabout (Neville's Bus Service Pty Ltd)
[7 empty] | F | Hydrant | [36 empty] | BUSLI | Buslines Group Pty Ltd
[7 empty] | F | Tap | [36 empty] | BUSWA | Busways (North Coast Pty Ltd)
[7 empty] | F | Valve | [36 empty] | BUSWB | Busways Blacktown Pty Ltd
[7 empty] | F | Other | [36 empty] | BUSWG | Busways Gosford Pty Ltd
[7 empty] | F | Unknown | [36 empty] | CAFSP | Construcciones y Auxiliar de Ferrocarriles S.A. (CAF Spain)
[7 empty] | G | Fitting | [36 empty] | CALIB | Calibre Global Pty Ltd
[7 empty] | G | Marker | [36 empty] | CAR | Cardno (NSW/ACT) Pty Ltd
[7 empty] | G | Pipe | [36 empty] | CAVBC | Cavanagh Bus & Coach Pty Ltd
[7 empty] | G | Service Connection | [36 empty] | CBCC | Canterbury City Council
[7 empty] | G | Regulator | [36 empty] | CBRE | CBRE Asset Services
[7 empty] | G | Service Connection | [36 empty] | CCBC | Canada Bay City Council
[7 empty] | G | Support Structure | [36 empty] | CCGRP | Caldis Cook Group Pty Ltd / CCG Architects Pty Ltd
[7 empty] | G | Valve | [36 empty] | CERTF | Certifer
[7 empty] | G | Other | [36 empty] | CHPL | CHROFI Pty Ltd
[7 empty] | G | Unknown | [36 empty] | CMACO | Cooma Coaches Pty Ltd
[7 empty] | I | Aerial (Overhead) | [36 empty] | COFA | Coffey Services Australia Pty Ltd
[7 empty] | I | Cabinet | [36 empty] | COFS | City of Sydney
[7 empty] | I | Cabling (Direct Buried) | [36 empty] | COFY | Coffey Geotechnics Pty Ltd
[7 empty] | I | Camera | [36 empty] | COLEM | Coleman Rail
[7 empty] | I | Conduit (Empty) | [36 empty] | COMI | Conybear Morrison International Pty Ltd
[7 empty] | I | Conduit (with Cable) | [36 empty] | COPA | City of Parramatta
[7 empty] | I | Controller | [36 empty] | COXAR | COX Architecture
[7 empty] | I | Inductive Loop | [36 empty] | CPBD | CPB Contractors and Downer EDI Works
[7 empty] | I | Junction Box | [36 empty] | CSTLI | Coastal Liner (Nortale Pty Ltd)
[7 empty] | I | Pit | [36 empty] | CTCC | Campbelltown City Council
[7 empty] | I | Sensor Loops | [36 empty] | CUBIC | Cubic Transportation Systems Australia
[7 empty] | I | Sensors | [36 empty] | CWGPS | CWG Project Services Pty Ltd
[7 empty] | I | Signalling | [36 empty] | CWIEN | CWIEN Australia Pty Ltd
[7 empty] | I | Other | [36 empty] | DEGN | Degnan Constructions Pty Ltd
[7 empty] | I | Unknown | [36 empty] | DEGOT | Degotardi Smith and Partners
[7 empty] | P | Fitting | [36 empty] | DEMAU | DEM (Aust) Pty Ltd
[7 empty] | P | Pipe | [36 empty] | DESIN | DesignInc Sydney
[7 empty] | P | Support Structure | [36 empty] | DFPA | Dexus Frasers Property Australia
[7 empty] | P | Valve | [36 empty] | DIONA | Diona
[7 empty] | P | Other | [36 empty] | DIONS | Dions Bus Service (Seapost Pty Ltd)
[7 empty] | P | Unknown | [36 empty] | DJV | Jacobs Group Australia Pty Ltd & GHD Pty Ltd
[7 empty] | S | Anchor Block | [36 empty] | DOP | Department of Planning, Industry and Environment
[7 empty] | S | Fitting | [36 empty] | DWNRI | Downer Infrastructure
[7 empty] | S | Hydrant | [36 empty] | DWNRR | Downer Rail
[7 empty] | S | Inspection Hole | [36 empty] | EDWCO | Edwards Coaches Pty Ltd
[7 empty] | S | Manhole | [36 empty] | EGGIN | Eggins Holdings Pty Ltd
[7 empty] | S | Oviform | [36 empty] | ENDVR | Endeavour Energy including Ausconnex
[7 empty] | S | Pipe | [36 empty] | ENERM | Enermech Pty Ltd
[7 empty] | S | Service Connection | [36 empty] | ENSTR | Enstruct
[7 empty] | S | Pump Well | [36 empty] | ETHU | Ethos Urban Pty Ltd
[7 empty] | S | Rising Main | [36 empty] | FAIVE | Faiveley Transport Australia Ltd
[7 empty] | S | Service Connection | [36 empty] | FERRA | Ferrovial Agroman
[7 empty] | S | Support Structure | [36 empty] | FORCL | Forest Coach Lines Pty Ltd
[7 empty] | S | Valve | [36 empty] | FRNSI | Fearnes Investments Pty Ltd
[7 empty] | S | Vent | [36 empty] | FRZP | Frasers Property Australia Pty Limited
[7 empty] | S | Wet Well | [36 empty] | FURL | FutureRail
[7 empty] | S | Other | [36 empty] | GANEL | Ganellen
[7 empty] | S | Unknown | [36 empty] | GARTN | Gartner Rose
[7 empty] | W | Distribution | [36 empty] | GEORG | Georgiou Group
[7 empty] | W | Fitting | [36 empty] | GEOTE | Geotesta Pty Ltd
[7 empty] | W | Hydrant | [36 empty] | GHD | GHD
[7 empty] | W | Mains | [36 empty] | GJRTH | GJ Roth
[7 empty] | W | Service Connection | [36 empty] | GOLDR | Golder Associates Pty Ltd
[7 empty] | W | Rising Main | [36 empty] | GOVA | Government Architect NSW
[7 empty] | W | Service Connection | [36 empty] | GRCLR | Great River City Light Rail
[7 empty] | W | Tap | [36 empty] | GRGSA | Group GSA
[7 empty] | W | Valve | [36 empty] | GRIMS | Grimshaw Architects Pty Ltd
[7 empty] | W | Other | [36 empty] | HASLN | Haslin Constructions
[7 empty] | W | Unknown | [36 empty] | HASSL | Hassell
[45 empty] | HATCH | Hatch
[45 empty] | HAYMN | Hayman Industries
[45 empty] | HILLS | Hillsbus Co P/L (ComfortDelGro P/L)
[45 empty] | HITAC | Hitachi Ltd
[45 empty] | HITAR | Hitachi Rail STS Australia Pty Ltd
[45 empty] | HOCHF | Hochtief Engineering
[45 empty] | HVBUS | Hunter Valley Buses P/L (ComfortDelGro P/L)
[45 empty] | HYUND | Hyundai Rotem Company
[45 empty] | ICDAP | ICD (Asia Pacific) Pty Ltd
[45 empty] | ILPL | Interlink Road Pty Ltd
[45 empty] | INDRA | Indra Australia
[45 empty] | INTRL | Interline (Ingleburn Bus Services Pty Ltd)
[45 empty] | JAJV | Jacobs Arcadis Joint Venture
[45 empty] | JCB | Jacobs Group (Australia) Pty Ltd
[45 empty] | JCPB | Jacobs & Parson Brinkerhoff
[45 empty] | JEMAL | Jemalit Pty Ltd
[45 empty] | JHACE | JHA Consulting Engineers
[45 empty] | JHGRP | John Holland Group
[45 empty] | JMDRA | JMD Railtech
[45 empty] | KBR | KBR
[45 empty] | KDHUN | Keolis Downer Hunter
[45 empty] | LANDS | Land Surveys
[45 empty] | LCTM | LCT-MRE Pty Ltd
[45 empty] | LENDL | Lendlease Engineering
[45 empty] | LEWDU | Lewis Dunnings
[45 empty] | LINDD | Lindsay Dynan
[45 empty] | LOCAT | Locaters Pty Ltd
[45 empty] | LORKE | Laing O'Rourke Australia
[45 empty] | LYCOP | Lycopodium Infrastructure Pty Ltd
[45 empty] | MARBC | Marshall's Bus & Coach Company Pty Ltd
[45 empty] | MARTA | Martins Albury Pty Ltd
[45 empty] | MARTR | Martinus Rail
[45 empty] | MCCON | McConnell Dowell
[45 empty] | MCKEN | McKenzie Group Consulting
[45 empty] | MCMIL | McMillen Jacobs Associates
[45 empty] | MERVH | Merv Hennock & Sons Pty Ltd
[45 empty] | METWS | Metwest Engineering
[45 empty] | MIAPE | MIA Passenger Express Pty Ltd
[45 empty] | MITEA | Mitsubishi Electric Australia Pty Ltd
[45 empty] | MOMT | Momentum Trains
[45 empty] | MONPO | Monteath & Powys Pty Ltd
[45 empty] | MOTTM | Mott Macdonald
[45 empty] | MTRCO | MTR Corporation (Australia)
[45 empty] | MULTP | Multiplex Constructions Pty Ltd/Multiplex Engineering & Infrastructure Pty Ltd
[45 empty] | NETRC | Network Rail Consulting
[45 empty] | NEWCC | Newcombe Coach Lines Pty Ltd
[45 empty] | NEWEG | New Era Group
[45 empty] | NOMAC | NOMA Consulting
[45 empty] | NORDY | Norman Disney & Young
[45 empty] | NORTC | Norththrop Consulting
[45 empty] | NOVAS | Nova Systems
[45 empty] | NOVOR | Novo Rail
[45 empty] | NOWCO | Nowra Coaches Pty Ltd
[45 empty] | NRSR | Office of the National Rail Safety Regulator
[45 empty] | NRTRN | Northwest Rapid Transit
[45 empty] | NSWT | NSW TrainLink
[45 empty] | OGDCO | Ogdens Coaches Pty Ltd
[45 empty] | PBUSC | Punchbowl Bus Company Pty Ltd
[45 empty] | PELSM | Pells Sullivan Meynink
[45 empty] | PICBL | Picton Buslines Pty Ltd
[45 empty] | PREMC | Premier Charters Pty Ltd
[45 empty] | PREMI | Premier Illawarra (Premier Motor Service Pty Ltd)
[45 empty] | PRIBS | Priors Bus Service Pty Ltd
[45 empty] | PTSCO | Port Stephens Coaches (Nelson Bay) Pty Ltd
[45 empty] | PTWAR | PTW Architects
[45 empty] | PURBN | Purtill Bros Nominees Pty Ltd
[45 empty] | PWRET | PowerEarth Technologies
[45 empty] | QCITY | QCITY Transit Pty Ltd
[45 empty] | QCKWY | Quickway Constructions
[45 empty] | RALSA | Rail Systems Australia
[45 empty] | RCORP | RailCorp
[45 empty] | RDBUS | Red Bus (The Entrance Red Bus Services Pty Ltd)
[45 empty] | REGOS | Reg Osborn Pty Ltd
[45 empty] | RENZT | Renzo Tonin & Associates
[45 empty] | RLCON | RailConnect
[45 empty] | ROBBG | Robert Bird Group
[45 empty] | RVRMT | Rover Motors Pty Ltd
[45 empty] | SCSTT | South Coast Transit Pty Ltd
[45 empty] | SEYWC | Seymour Whyte Constructions
[45 empty] | SHOAL | Shoalbus Pty Ltd
[45 empty] | SHTC | Sydney Harbour Tunnel Company Ltd
[45 empty] | SIEMN | Siemens
[45 empty] | SMEC | SMEC
[45 empty] | SNCLR | SNC-Lavalin Rail & Transit Pty Ltd
[45 empty] | SOFRA | Sofraco Engineering Systems Pty Ltd
[45 empty] | SSLP | Systra Scott Lister Pty Ltd
[45 empty] | STADR | Stadler Rail
[45 empty] | STANA | Stantec Australia Pty Ltd (previously MWH Global)
[45 empty] | STEDC | Stephen Edwards Constructions
[45 empty] | STRNA | State Transit Authority
[45 empty] | SUREX | Surex Surveyors
[45 empty] | SURFB | Surfside Buslines Pty Ltd
[45 empty] | SYDM | Sydney Metro
[45 empty] | SYDT | Sydney Trains
[45 empty] | SYDW | Sydney Water
[45 empty] | TAYTW | Taylor Thomson Whitting
[45 empty] | TCCT | Transurban CCT Pty Ltd
[45 empty] | TCQCO | TCQ Construction
[45 empty] | TFNSW | Transport for NSW
[45 empty] | THAGA | Thales Group Australia
[45 empty] | THML | The Hills Motoway Ltd
[45 empty] | TOGF | Toga Group Finance Pty Limited
[45 empty] | TRNSD | Transdev NSW Pty Ltd
[45 empty] | TRNSI | Transit Systems
[45 empty] | TSYDF | Transdev Sydney Ferries
[45 empty] | TYCOP | Tyco Projects (Australia) Pty Ltd
[45 empty] | UGLEN | UGL Engineering Pty Ltd
[45 empty] | UGLRS | UGL Rail Services
[45 empty] | UGLU | UGL Unipart
[45 empty] | VOERS | Voestalpine VAE Railway Systems Pty Ltd
[45 empty] | WABTC | Wabtec Control Systems
[45 empty] | WILLD | Willow Digital Pty Ltd
[45 empty] | WOLPS | WorleyParsons Services Pty Ltd
[45 empty] | WRDCE | Ward Civil and Environmental Engineering
[45 empty] | WRDLI | Western Road Liners Pty Ltd
[45 empty] | WSOC | WSO Co Pty Ltd
[45 empty] | WSPAU | WSP Australia Pty Ltd
[45 empty] | ZINFR | Zinfra Group
[45 empty] | ACOR | ACOR Consultants Pty Ltd
[45 empty] | BCAL | BCA Logic
[45 empty] | BCRC | BCRC
[45 empty] | BCUL | Brand Culture
[45 empty] | BEWC | BESIX Watpac
[45 empty] | CGPT | Conrad Gargett Pty Ltd
[45 empty] | CLMC | Clement Marine Constructions
[45 empty] | ELSU | Elite Survey
[45 empty] | HAPT | Haskoning Australia Pty Ltd
[45 empty] | MGAC | Morris Goding Access Consultants
[45 empty] | PMCP | Polaris Marine Constructions Pty Ltd
[45 empty] | STAN | Stantec
[45 empty] | HANYU | Hansen Yuncken
[45 empty] | JILA | Jane Irwin Landscape Architecture Pty Ltd
[45 empty] | NORSP | Norton Survey Partners Pty Ltd
[45 empty] | WTPAR | WT Partnership
[45 empty] | BKJV | Better Konnected JV
[45 empty] | CLSD | Context Landscape Design Pty Ltd
[45 empty] | ELA | Eco Logical Australia Pty Ltd
[45 empty] | MRSY | Morasey Pty Ltd
[45 empty] | RTMS | Roads & Traffic Management Services
[45 empty] | SENV | Senversa Pty Ltd
[45 empty] | ARTE | Artefact Heritage Services Pty Ltd
[45 empty] | KNCON | Kelleher Nightingale Consulting Pty Ltd
[45 empty] | RHE | Rhelm
[45 empty] | UMT | Umwelt (Australia) Pty Ltd
[45 empty] | ADCO | ADCO Constructions Pty Ltd
[45 empty] | BIOS | Biosis Pty Ltd
[45 empty] | ENCS | Environmental and Cultural Services
[45 empty] | ESEN | Essential Energy
[45 empty] | EUSC | Eurobodalla Shire Council
[45 empty] | GESV | Geosurv Pty Ltd
[45 empty] | NEAH | Niche Environment and Heritage
[45 empty] | NGHC | NGH Consulting
[45 empty] | NOHC | Navin Officer Heritage Consultants
[45 empty] | OPT | Optus
[45 empty] | QFRE | Q-Free ASA
[45 empty] | SYPA | Sydney Program Alliance
[45 empty] | TEL | Telstra
[45 empty] | WGCC | Wollongong City Council
[45 empty] | WTRC | Waters Consultancy Pty Ltd
[45 empty] | WYSC | Wollondilly Shire Council
[45 empty] | BMDC | B.M.D Constructions Pty Limited
[45 empty] | FREYS | Freyssinet Australia Pty Ltd
[45 empty] | FULH | Fulton Hogan
[45 empty] | GEOA | Geoscape Australia
[45 empty] | MTS | Metro Trains Sydney
[45 empty] | SAJV | SMEC Aurecon Joint Venture
[45 empty] | SPSE | NSW Spatial Services (DCS)
[45 empty] | WATR | Water NSW
[45 empty] | RBWP | Rainbow Group Pty Ltd
[45 empty] | LXTC | Linox Technology Pty Ltd
[45 empty] | JGRP | Jugun Group Pty Ltd
[45 empty] | CJCO | COLIN JOSS & CO Pty Ltd
[45 empty] | SINC | Smart Infrastructure Consulting Pty Ltd
[45 empty] | DPIF | NSW Department of Primary Industries (DPI) Fisheries
[45 empty] | BOM | Bureau of Meteorology (BoM)
[45 empty] | BGOC | BGC Australia Pty Ltd
[45 empty] | GWSC | GWS Engineering & Construction Pty Ltd
[45 empty] | NPMI | NPM Indigenous Pty Ltd
[45 empty] | SNJV | Sustain Joint Venture
[45 empty] | TSSO | TSS Total Surveying Solutions Pty Ltd
[45 empty] | EPA | NSW Environment Protection Authority (EPA)
[45 empty] | GSAU | Geoscience Australia
[45 empty] | HNSW | Heritage Council of NSW
[45 empty] | INSW | Infrastructure NSW
[45 empty] | IWCL | Inner West Council
[45 empty] | KISO | KI Studio Pty Ltd
[45 empty] | MIEN | MI Engineers
[45 empty] | NEAM | Nearmap Pty Ltd
[45 empty] | NNTT | National Native Title Tribunal
[45 empty] | NOCB | North Construction & Building Pty Ltd
[45 empty] | RSLW | The Returned & Services League of Australia WA Branch Incorporated
[45 empty] | RYWC | Rygate & West Consulting Pty Ltd
[45 empty] | SDNC | Surface Design Consulting
[45 empty] | SHCC | Shoalhaven City Council
[45 empty] | SLRA | SLR Consulting Australia Pty Ltd
[45 empty] | TRFK | Trailforks
[45 empty] | VSLA | VSL Australia Pty Ltd
[45 empty] | WARD | Ward Utilities Pty Ltd
[45 empty] | KLTI | Keltbray International Pty Limited
[45 empty] | ROBC | Robar Civil Pty Ltd
[45 empty] | ARCY | Austral Archaeology Pty Ltd
[45 empty] | ADVC | Advanced Constructions Pty Ltd
[45 empty] | CGCL | Cammeray Golf Club Ltd
[45 empty] | RESC | Resonate Consultants
[45 empty] | BGRA | Bluewater Group (Australia) Pty Ltd
[45 empty] | ARAE | ARA Electrical Engineering Services Pty Ltd
[45 empty] | BVJV | Bouygues Vinci Joint Venture
[45 empty] | CJUJV | CPB Contractors John Holland UGL Joint Venture
[45 empty] | SISA | Sustainable Infrastructure Systems (Aust) Pty Ltd
[45 empty] | OEHM | OzArk Environmental & Heritage Management Pty Ltd
[45 empty] | CQCP | CQC Partners Pty Limited
[45 empty] | WLKC | Walker Corporation Pty Limited